Fire Detection       Electrical Maintenance & Testing       Gas Detection

Service Report

| Service Type | Technical Service Report |
| --- | --- |
| Client Name | Bruac Eile – Redemption Rd |
| Information | Call out to site to move 2 double sockets, fuses spur, and trunking. Disconnect cocker in kitchen remove cable and remove from switch. |
| Date | 28-06-2021 |
| Travel Start Time | 08:00 |
| Travel End Time | 08:00 |
| On Site Time | 13:30 |
| On Site Finish Time | 14:30 |
| Customer Name | N/A |

Eltech Electrical Services Ltd

Unit 5 Lee Park, Site Cast Industrial Estate, Pouladuff Rd, Cork, T12YP8N

Vat No.: 6437035J

Tel: 021-4289802

Mobile: 086-6075532

info@eltech.ie

www.eltech.ie