Fire Detection       Electrical Maintenance & Testing       Gas Detection

Service Report

| Service Type | Fire Alarm Service |
| --- | --- |
| Client Name | Salt barn/Gully Unit – Cork City Council |
| Information | Carried out the quarterly service of the fire alarm system |
| Date | 23-08-2022 |
| Travel Start Time | 11:30 |
| Travel End Time | 12:00 |
| On Site Time | 12:00 |
| On Site Finish Time | 13:00 |
| System Information |  |
| Site Name and Contact Details | Salt Barn CCC John Purcell |
| Detection Type, Make and Model | Smoke and heat detectors, BGUs and sounders |
| Routine Service and Maintenance Details |  |
| System category for the area serviced, type YES after correct category | L2/L3 |
| Batteries tested | No |
| Load Test Meter Used | No |
| Battery age checked | Yes |
| Panel Checks |  |
| Field |  |
| Percentage of detection devices tested | 25% |
| Sounders Checked | Yes |
| DB Meter Used | No |
| Ancillary Outputs | No |
| Visual inspection of area serviced for any structural change since last service | Yes |
| Is fire alarm system set up for remote monitoring | No |
| Additional Information |  |
| Any system disablements or any items requiring attention should be listed here | No Faults Found |
| Any further comments | Carried out the quarterly service of the fire alarm system Tested operation of smoke and heat detectors, BGUs and sounders No date on batteries in panel Areas Tested: Zone 1 + 2 System restored to normal on completion |
| Has any equipment been supplied or installed during this visit | No |
| System left in normal working condition | Yes |
| Engineer Name | Gerard Murphy |
| Customer Name | SALT BARN CCC |

Eltech Electrical Services Ltd

Unit 5 Lee Park, Site Cast Industrial Estate, Pouladuff Rd, Cork, T12YP8N

Vat No.: 6437035J

Tel 021-4289802

Mob: 086-6075532

Email: info@eltech.ie

Web: www.eltech.ie